## COMPARE
Classificiation --> | Office | [5 empty] | Retail |  |  |  | Hotel |  |  | Govern |  |  |  | AVERAGE | MEDIAN
Source --> | Ecoinvent | Kashkooli | Kofoworola | Oka | Reyna | Schebek | Ecoinvent | Reyna | Schebek | Gruhler* | Reyna | Rossello-Batle | Gruhler* | Kumanayake | Reyna | Gruhler* | Marcellus‐Zamora
Description --> | Multi-storey building | High-rise office building | Typical office building | Offices | Offices (low & high) | Offices | Hall-type building | Warehouse, department store & neighbourhood store | Warehouse | Wholesale & Car-shop | Hotel | Hotel | Hotel/guesthouse | University | School & Hospital | Nursing-home & Emergency services | Civic/Institutional
Regional Representation --> | - | Mexico | Thailand | Japan | USA |  | - | USA |  | Germany | USA | Spain | Germany | Sri Lanka | USA | Germany | USA |  |  | 105.4983
Steel | 24.17 | 123.7753 | 255.6852 | 157.6283 | 41.7017 | 86.976 | 26.06 | 82.5996 | 84.54 | 120.9 | 88.52 | 51.211 | 113.46 | 131.9911 | 131.5092 | 104.16 | 40 | 97.9345 | 88.52 | 92.83%
Concrete | 393.064 | 424.515 | 2117.5556 |  | 533.3758 | 1056.804 | 784.5573 | 658.3412 | 348.5567 | 1009 | 92.9526 | 1006.7373 | 1073 | 1542.5819 | 835.3205 | 1036.5 | 702 | 850.9289 | 809.9389
Aluminium | 8.48 |  | 0.27778 |  | 9.669 | 0.63 | 1.2 | 2.0979 | 1.098 | 5.2 | 5.2305 | 3.0259 | 4.88 | 4.9832 | 7.8612 | 4.48 |  | 4.2224 | 4.68 | 4.002%
Copper | 8.48 | 2.6887 |  |  |  | 0.6525 |  |  | 0.72 | 3.9 |  | 3.2695 | 3.66 |  |  | 3.36 |  | 3.3413 | 3.3147 | 3.167%
Wood | 24.68 | 3.0183 | 1.4815 |  | 0.18125 | 4.2225 | 18.24 |  | 4.2225 | 11 |  | 12.0337 | 25 |  |  | 25.5 |  | 11.78 | 11
Glass | 3.08 | 1.0292 | 9.6111 |  | 4.6199 | 13.9275 | 1.8 | 1.854 | 13.9275 |  | 2.6933 | 5.1233 |  | 7.5867 | 4.8695 |  | 31 | 7.7786 | 4.8695
Cement | 61.7 |  | 8.7222 | 205.6667 | 138.1527 |  | 14.7 | 294.6112 | [5 empty] | 548.9147 | 305.1357 |  |  | 197.2004 | 171.9097
1 | office
2 | retail
3 | hotels+
4 | government+
* | The study by Gruhler et al only reports 'metals' as an aggregated category, we assumed a fixed ratio between steel (93%), aluminium (4%) and copper (3%) to come up with the numbers on individual metals
| 93% | Steel
| 4% | Aluminium
| 3% | Copper

## Compare_tranposed
|  | Source | Description --> | Regional Representation --> | Steel | Concrete | Aluminium | Copper | Wood | Glass
| Office | Ecoinvent | Multi-storey building | - | 24.17 | 393.064 | 8.48 | 8.48 | 24.68 | 3.08
|  | Kashkooli | High-rise office building | Mexico | 123.7753 | 424.515 |  | 2.6887 | 3.0183 | 1.0292
|  | Kofoworola | Typical office building | Thailand | 255.6852 | 2117.5556 | 0.27778 |  | 1.4815 | 9.6111
|  | Oka | Offices | Japan | 157.6283
|  | Reyna | Offices (low & high) | USA | 41.7017 | 533.3758 | 9.669 |  | 0.18125 | 4.6199
|  | Schebek | Offices | - | 86.976 | 1056.804 | 0.63 | 0.6525 | 4.2225 | 13.9275
| Retail | Ecoinvent | Hall-type building | - | 26.06 | 784.5573 | 1.2 |  | 18.24 | 1.8
|  | Reyna | Warehouse, department store & neighbourhood store | USA | 82.5996 | 658.3412 | 2.0979 |  |  | 1.854
|  | Schebek | Warehouse | - | 84.54 | 348.5567 | 1.098 | 0.72 | 4.2225 | 13.9275
|  | Gruhler* | Wholesale & Car-shop | Germany | 120.9 | 1009 | 5.2 | 3.9 | 11
| Hotel | Reyna | Hotel | USA | 88.52 | 92.9526 | 5.2305 |  |  | 2.6933
|  | Rossello-Batle | Hotel | Spain | 51.211 | 1006.7373 | 3.0259 | 3.2695 | 12.0337 | 5.1233
|  | Gruhler* | Hotel/guesthouse | Germany | 113.46 | 1073 | 4.88 | 3.66 | 25
| Govern | Kumanayake | University | Sri Lanka | 131.9911 | 1542.5819 | 4.9832 |  |  | 7.5867
|  | Reyna | School & Hospital | USA | 131.5092 | 835.3205 | 7.8612 |  |  | 4.8695
|  | Gruhler* | Nursing-home & Emergency services | Germany | 104.16 | 1036.5 | 4.48 | 3.36 | 25.5
|  | Marcellus‐Zamora | Civic/Institutional | USA | 40 | 702 |  |  |  | 31
| Average |  |  |  | 97.9345 | 850.9289 | 4.2224 | 3.3413 | 11.78 | 7.7786
0.2 | PERCENTILE |  |  |  | 43.6035 | 424.515 | 1.1592 | 1.5075 | 3.0183 | 2.1897
0.8 | PERCENTILE |  |  |  | 129.9624 | 1056.804 | 6.2828 | 3.804 | 24.68 | 12.2009
| MIN |  |  |  | 24.17 | 92.9526 | 0.27778 | 0.6525 | 0.18125 | 1.0292
| MAX |  |  |  | 255.6852 | 2117.5556 | 9.669 | 8.48 | 25.5 | 31
| COUNT |  |  |  | 17 | 16 | 14 | 8 | 11 | 13
| BAR |  |  |  | 86.3589 | 632.289 | 5.1236 | 2.2965 | 21.6617 | 10.0112
| TOP |  |  |  | 300 | 2500 | 35 | 35 | 35 | 35
| Diff to top |  |  |  | 170.0376 | 1443.196 | 28.7172 | 31.196 | 10.32 | 22.7991
| ERROR_UP |  |  |  | 157.7506 | 1266.6267 | 5.4466 | 5.1387 | 13.72 | 23.2214
| ERROR_DN |  |  |  | 73.7645 | 757.9763 | 3.9446 | 2.6888 | 11.5987 | 6.7494
| MEDIAN |  |  |  | 88.52 | 809.9389 | 4.68 | 3.3147 | 11 | 4.8695

## materials_commercial
| Offices | Retail+ | Hotels+ | Govt+
Steel | 114.9894 | 78.5249 | 84.397 | 101.9151
Concrete | 905.0629 | 700.1138 | 724.23 | 1029.1006
Aluminium | 4.7642 | 2.399 | 4.3788 | 5.7748
Copper | 3.9404 | 2.31 | 3.4647 | 3.36
Wood | 6.7167 | 11.1542 | 18.5169 | 25.5
Glass | 6.4535 | 5.8605 | 3.9083 | 14.4854
Cement | 0 | 0 | 0 | 0

## materials_commercial_mean
| Offices | Retail+ | Hotels+ | Govt+
Steel | 97.9345 | 97.9345 | 97.9345 | 97.9345
Concrete | 850.9289 | 850.9289 | 850.9289 | 850.9289
Aluminium | 4.2224 | 4.2224 | 4.2224 | 4.2224
Copper | 3.3413 | 3.3413 | 3.3413 | 3.3413
Wood | 11.78 | 11.78 | 11.78 | 11.78
Glass | 7.7786 | 7.7786 | 7.7786 | 7.7786
Cement | 0 | 0 | 0 | 0

## materials_commercial_median
| Offices | Retail+ | Hotels+ | Govt+
Steel | 88.52 | 88.52 | 88.52 | 88.52
Concrete | 809.9389 | 809.9389 | 809.9389 | 809.9389
Aluminium | 4.68 | 4.68 | 4.68 | 4.68
Copper | 3.3147 | 3.3147 | 3.3147 | 3.3147
Wood | 11 | 11 | 11 | 11
Glass | 4.8695 | 4.8695 | 4.8695 | 4.8695
Cement | 0 | 0 | 0 | 0

## materials_commercial_high
| Offices | Retail+ | Hotels+ | Govt+
Steel | 129.9624 | 129.9624 | 129.9624 | 129.9624
Concrete | 1056.804 | 1056.804 | 1056.804 | 1056.804
Aluminium | 6.2828 | 6.2828 | 6.2828 | 6.2828
Copper | 3.804 | 3.804 | 3.804 | 3.804
Wood | 24.68 | 24.68 | 24.68 | 24.68
Glass | 12.2009 | 12.2009 | 12.2009 | 12.2009
Cement | 0 | 0 | 0 | 0

## materials_commercial_low
| Offices | Retail+ | Hotels+ | Govt+
Steel | 129.9624 | 129.9624 | 129.9624 | 129.9624
Concrete | 1056.804 | 1056.804 | 1056.804 | 1056.804
Aluminium | 6.2828 | 6.2828 | 6.2828 | 6.2828
Copper | 3.804 | 3.804 | 3.804 | 3.804
Wood | 24.68 | 24.68 | 24.68 | 24.68
Glass | 12.2009 | 12.2009 | 12.2009 | 12.2009
Cement | 0 | 0 | 0 | 0

## Kashkooli
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment
1 | Kashkooli et al 2014 | https://doi.org/10.1016/j.scs.2013.11.002 | A semi-quantitative framework of building lifecycle analysis: Demonstrated through a case study of a typical office building block in Mexico in warm and humid climate | Mexico City, Cuajimalpa District, Mexico, North America |  | Urban |  | High-rise building | Office building |  |  | 22 |  | 88 | 1470 | 1323 | 15.0341 | Concrete |  | 561633.3 |  | 424.515 | 1 | 6382.1966 |  | The number of residents is assumed
1 | [5 empty] | Urban |  | High-rise building |  |  |  | 22 |  | 88 | 1470 | 1323 | 15.0341 | Wood |  | 3993.27 |  | 3.0183 | 1 | 45.3781
1 | [5 empty] | Urban |  | High-rise building |  |  |  | 22 |  | 88 | 1470 | 1323 | 15.0341 | Steel |  | 163754.76 |  | 123.7753 | 1 | 1860.8495
1 | [5 empty] | Urban |  | High-rise building |  |  |  | 22 |  | 88 | 1470 | 1323 | 15.0341 | Alunimium |  | 9.46 |  | 0.0071504 | 1 | 0.1075
1 | [5 empty] | Urban |  | High-rise building |  |  |  | 23 |  | 92 | 1470 | 1323 | 14.3804 | Copper |  | 3557.16 |  | 2.6887 | 1 | 38.6648
1 | [5 empty] | Urban |  | High-rise building |  |  |  | 24 |  | 96 | 1470 | 1323 | 13.7812 | Glass |  | 1361.61 |  | 1.0292 | 1 | 14.1834

## Kofoworola
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per net floor area kg/m2 | Building code | kg/cap | Lifetime (years) | Comment
3 | Kofoworola et al., 2009 | https://doi.org/10.1016/j.enbuild.2009.06.002 | Life cycle energy assessment of a typical office building in Thailand | Bangkok, Thailand | Central business district of Bangkok, Thailand | Urban |  | High-rise building |  |  |  | 38 |  |  | 60000 | 54000 | 44.28 | Concrete |  | 114348000 | kg | 2117.5556 | 1 |  | 50
3 | [5 empty] | Urban |  | High-rise building | [6 empty] | 60000 | 54000 | 44.28 | Cement |  | 471000 | kg | 8.7222 | 1 |  |  | The number of residents is assumed (the nuber from the previous study us taken in order to avoid errors in the calculations)
3 | [5 empty] | Urban |  | High-rise building | [6 empty] | 60000 | 54000 | 44.28 | Steel |  | 13807000 | kg | 255.6852 | 1
3 | [5 empty] | Urban |  | High-rise building | [6 empty] | 60000 | 54000 | 44.28 | Aluminium |  | 15000 | kg | 0.27778 | 1
3 | [5 empty] | Urban |  | High-rise building | [6 empty] | 60000 | 54000 | 44.28 | Glass |  | 519000 | kg | 9.6111 | 1
3 | [5 empty] | Urban |  | High-rise building | [6 empty] | 60000 | 54000 | 44.28 | Wood |  | 80000 | kg | 1.4815 | 1

## Oka
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | building code | kg/cap | Lifetime | Comment
2 | Oka et al., 1993 | https://doi.org/10.1016/0378-7788(93)90016-N | The estimation of energy consumption and amount of pollutants due to the construction of buildings |  |  | Urban |  | Apartment building | Office No 1 |  |  | 4 |  |  |  | 1502 |  | Cement |  | 258 | kg/m2 | 258 | 1
2 | [5 empty] | Urban |  | Apartment building |  |  |  | 4 |  |  |  | 1502 |  | Steel |  | 137.8 | kg/m2 | 137.8 | 1
2 | [5 empty] | Urban |  | Apartment building |  |  |  | 4 |  |  |  | 1502 |  | Iron |  | 358 | kg/m2 | 358 | 1
2 | [5 empty] | Urban |  | High-rise building | Office No 2 |  |  | 8 |  |  |  | 2802 |  | Cement |  | 250 | kg/m2 | 250 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 8 |  |  |  | 2802 |  | Steel |  | 151.37 | kg/m2 | 151.37 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 8 |  |  |  | 2802 |  | Iron |  | 314 | kg/m2 | 314 | 1
2 | [5 empty] | Urban |  | High-rise building | Office No 3 |  |  | 8 |  |  |  | 3500 |  | Cement |  | 311 | kg/m2 | 311 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 8 |  |  |  | 3500 |  | Steel |  | 144.01 | kg/m2 | 144.01 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 8 |  |  |  | 3500 |  | Iron |  | 345 | kg/m2 | 345 | 1
2 | [5 empty] | Urban |  | High-rise building | Office No 4 |  |  | 18 |  |  |  | 22861 |  | Cement |  | 172 | kg/m2 | 172 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 18 |  |  |  | 22861 |  | Steel |  | 202.4 | kg/m2 | 202.4 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 18 |  |  |  | 22861 |  | Iron |  | 409 | kg/m2 | 409 | 1
2 | [5 empty] | Urban |  | High-rise building | Office No 5 |  |  | 31 |  |  |  | 88049 |  | Cement |  | 116 | kg/m2 | 116 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 31 |  |  |  | 88049 |  | Steel |  | 158.76 | kg/m2 | 158.76 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 31 |  |  |  | 88049 |  | Iron |  | 425 | kg/m2 | 425 | 1
2 | [5 empty] | Urban |  | High-rise building | Office No 6 |  |  | 25 |  |  |  | 216000 |  | Cement |  | 127 | kg/m2 | 127 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 25 |  |  |  | 216000 |  | Steel |  | 151.43 | kg/m2 | 151.43 | 1
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 25 |  |  |  | 216000 |  | Iron |  | 326 | kg/m2 | 326 | 1
[18 empty] | Cement |  |  |  | 205.6667 |  |  |  | AVERAGED
[18 empty] | Steel |  |  |  | 157.6283 |  |  |  | AVERAGED
[18 empty] | Iron |  |  |  | 362.8333 |  |  |  | AVERAGED

## Kumanayake
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment | Comment
2 | Kumanayake, R and Luo, H., 2018 | https://doi.org/10.1016/j.enbuild.2018.01.065 | A tool for assessing life cycle CO2 emissions of buildings in Sri Lanka | Sri Lanka |  | Urban |  | High-rise building | University building |  |  | 7 |  |  |  | 897 |  | Cement |  | 492376.5 | kg | 548.9147 | 3 |  | 30 years | Mortar Cement
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 7 |  |  |  | 897 |  | Concrete | 2400 | 1383696 | kg | 1542.5819 | 3 |  |  | density is taken from the study
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 7 |  |  |  | 897 |  | Steel |  | 118396 | kg | 131.9911 | 3
2 | [5 empty] | Urban |  | High-rise building |  |  |  | 7 |  |  |  | 897 |  | Aluminium |  | 4469.95 | kg | 4.9832 | 3
[16 empty] | 897 |  | Glass |  | 6805.24 | kg | 7.5867 | 3
[16 empty] | 897 |  | Bricks |  | 855439 | kg | 953.6667 | 3

## Reyna
ID | Source |  | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment | Comment
2 | Reyna et al. The Growth of Urban Building Stock, 2014 | https://doi.org/10.1111/jiec.12211 | Hotel | Los Angeles County, California, USA |  | Urban |  |  | C1 |  |  | 6 |  |  |  | 12541.9104 |  | Concrete | 2320 | 1165802.9519 | kg | 92.9526 | 3
2 | [5 empty] | Urban |  |  | C1 |  |  | 6 |  |  |  | 12541.9104 |  | Steel |  | 1110210 | kg | 88.52 | 3
2 | [5 empty] | Urban |  |  | C1 |  |  | 6 |  |  |  | 12541.9104 |  | Aluminium |  | 65600 | kg | 5.2305 | 3
2 | [5 empty] | Urban |  |  | C1 |  |  | 6 |  |  |  | 12541.9104 |  | Mortar | 2162 | 1568623.5627 | kg | 125.0705 | 3 |  |  | https://www.aqua-calc.com/page/density-table/substance/cement-coma-and-blank-mortar
2 | [5 empty] | Urban |  |  | C1 |  |  | 6 |  |  |  | 12541.9104 |  | Brick |  | 402725.4965 | kg | 32.1104 | 3
2 | [5 empty] | Urban |  |  | C1 |  |  | 1 |  |  |  | 12541.9104 |  | Glass |  | 33779.5453 | kg | 2.6933 | 3
2 |  |  | Warehouse |  |  | Urban |  |  | I1 |  |  | 1 |  |  |  | 2787.0912 |  | Concrete | 2320 | 2539132.2658 | kg | 911.0331 | 2
2 | [5 empty] | Urban |  |  | I1 |  |  | 1 |  |  |  | 2787.0912 |  | Steel |  | 362397.3376 | kg | 130.0271 | 2
2 | [5 empty] | Urban |  |  | I1 |  |  | 1 |  |  |  | 2787.0912 |  | Mortar | 2162 | 980123.1957 | kg | 351.6653 | 2
2 |  |  | Department store |  |  | Urban |  |  | C2 |  |  | 1 |  |  |  | 8825.7888 |  | Mortar | 2162 | 924734.3425 | kg | 104.7764 | 2 |  |  | https://www.aqua-calc.com/page/density-table/substance/cement-coma-and-blank-mortar
2 | [5 empty] | Urban |  |  | C2 |  |  | 1 |  |  |  | 8825.7888 |  | Concrete | 2320 | 3780216.5138 | kg | 428.3149 | 2
2 | [5 empty] | Urban |  |  | C2 |  |  | 1 |  |  |  | 8825.7888 |  | Steel |  | 187520 | kg | 21.2468 | 2
2 | [5 empty] | Urban |  |  | C2 |  |  | 1 |  |  |  | 8825.7888 |  | Aluminium |  | 11060 | kg | 1.2531 | 2
2 | [5 empty] | Urban |  |  | C2 |  |  | 1 |  |  |  | 8825.7888 |  | Brick |  | 237478.1436 | kg | 26.9073 | 2
2 | [5 empty] | Urban |  |  | C2 |  |  | 1 |  |  |  | 8825.7888 |  | Glass |  | 8867.1307 | kg | 1.0047 | 2
2 |  |  | Neighbourhood store |  |  | Urban |  |  | C3 |  |  | 1 |  |  |  | 380.9025 |  | Steel |  | 36766.5664 | kg | 96.5249 | 2
2 | [5 empty] | Urban |  |  | C3 |  |  | 1 |  |  |  | 380.9025 |  | Concrete | 2320 | 242130.475 | kg | 635.6758 | 2
2 | [5 empty] | Urban |  |  | C3 |  |  | 1 |  |  |  | 380.9025 |  | Aluminium |  | 1920 | kg | 5.0407 | 2
2 | [5 empty] | Urban |  |  | C3 |  |  | 1 |  |  |  | 380.9025 |  | Mortar | 2162 | 162794.633 | kg | 427.3919 | 2
2 | [5 empty] | Urban |  |  | C3 |  |  | 1 |  |  |  | 380.9025 |  | Glass |  | 1735.8933 | kg | 4.5573 | 2
2 |  |  | Low Office |  |  | Urban |  |  | C4 |  |  | 1 |  |  |  | 650.3213 |  | Steel |  | 38260.6791 | kg | 58.8335 | 1
2 | [5 empty] | Urban |  |  | C4 |  |  | 1 |  |  |  | 650.3213 |  | Concrete | 2320 | 343262.22 | kg | 527.8348 | 1
2 | [5 empty] | Urban |  |  | C4 |  |  | 1 |  |  |  | 650.3213 |  | Aluminium |  | 10160 | kg | 15.623 | 1
2 | [5 empty] | Urban |  |  | C4 |  |  | 1 |  |  |  | 650.3213 |  | Mortar | 2162 | 179687.3242 | kg | 276.3055 | 1
2 | [5 empty] | Urban |  |  | C4 |  |  | 1 |  |  |  | 650.3213 |  | Brick |  | 45895.2834 | kg | 70.5732 | 1
2 | [5 empty] | Urban |  |  | C4 |  |  | 1 |  |  |  | 650.3213 |  | Glass |  | 4053.5454 | kg | 6.2331 | 1
2 | [5 empty] | Urban |  |  | C4 |  |  | 1 |  |  |  | 650.3213 |  | Wood | 400 | 117.8693 | kg | 0.18125 | 1
2 |  |  | High Office |  |  | Urban |  |  | C5 |  |  | 6 |  |  |  | 14492.8742 |  | Steel |  | 356087.0228 | kg | 24.5698 | 1
2 | [5 empty] | Urban |  |  | C5 |  |  | 6 |  |  |  | 14492.8742 |  | Concrete | 2320 | 7810453.8226 | kg | 538.9168 | 1
2 | [5 empty] | Urban |  |  | C5 |  |  | 6 |  |  |  | 14492.8742 |  | Aluminium |  | 53840 | kg | 3.7149 | 1
2 | [5 empty] | Urban |  |  | C5 |  |  | 6 |  |  |  | 14492.8742 |  | Glass |  | 43575.6135 | kg | 3.0067 | 1
2 |  |  | Hospital |  |  | Urban |  |  | C6 |  |  | 3 |  |  |  | 5117.0994 |  | Steel |  | 734000 | kg | 143.4406 | 4
2 | [5 empty] | Urban |  |  | C6 |  |  | 3 |  |  |  | 5117.0994 |  | Concrete | 2320 | 5406982.6832 | kg | 1056.6499 | 4
2 | [5 empty] | Urban |  |  | C6 |  |  | 3 |  |  |  | 5117.0994 |  | Aluminium |  | 20150 | kg | 3.9378 | 4
2 | [5 empty] | Urban |  |  | C6 |  |  | 3 |  |  |  | 5117.0994 |  | Glass |  | 13746.3983 | kg | 2.6864 | 4
2 |  |  | School |  |  | Urban |  |  | C8 |  |  | 1 |  |  |  | 1077.6753 |  | Steel |  | 128865.9008 | kg | 119.5777 | 4
2 | [5 empty] | Urban |  |  | C8 |  |  | 1 |  |  |  | 1077.6753 |  | Concrete | 2320 | 661683.0026 | kg | 613.9911 | 4
2 | [5 empty] | Urban |  |  | C8 |  |  | 1 |  |  |  | 1077.6753 |  | Aluminium |  | 12700 | kg | 11.7846 | 4
2 | [5 empty] | Urban |  |  | C8 |  |  | 1 |  |  |  | 1077.6753 |  | Brick |  | 63508.4407 | kg | 58.931 | 4
2 | [5 empty] | Urban |  |  | C8 |  |  | 1 |  |  |  | 1077.6753 |  | Mortar | 2162 | 657674.4495 | kg | 610.2715 | 4
[16 empty] | 1077.6753 |  | Glass |  | 7600.3977 | kg | 7.0526 | 4
[18 empty] | Steel |  |  |  | 41.7017 | 1 |  |  | AVERAGED OFFICE
[18 empty] | Concrete |  |  |  | 533.3758 | 1 |  |  | AVERAGED OFFICE
[18 empty] | Aluminium |  |  |  | 9.669 | 1 |  |  | AVERAGED OFFICE
[18 empty] | Glass |  |  |  | 4.6199 | 1 |  |  | AVERAGED OFFICE
[18 empty] | Brick |  |  |  | 35.2866 | 1 |  |  | AVERAGED OFFICE
[18 empty] | Cement |  |  |  | 138.1527 | 1 |  |  | AVERAGED OFFICE | Assumed: Mortar = cement
[18 empty] | Wood |  |  |  | 0.18125 | 1 |  |  | AVERAGED OFFICE
[18 empty] | Mortar |  |  |  | 294.6112 | 2 |  |  | AVERAGED RETAIL
[18 empty] | Concrete |  |  |  | 658.3412 | 2 |  |  | AVERAGED RETAIL
[18 empty] | Steel |  |  |  | 82.5996 | 2 |  |  | AVERAGED RETAIL
[18 empty] | Aluminium |  |  |  | 2.0979 | 2 |  |  | AVERAGED RETAIL
[18 empty] | Brick |  |  |  | 8.9691 | 2 |  |  | AVERAGED RETAIL
[18 empty] | Cement |  |  |  | 294.6112 | 2 |  |  | AVERAGED RETAIL | Assumed: Mortar = cement
[18 empty] | Glass |  |  |  | 1.854 | 2 |  |  | AVERAGED RETAIL
[18 empty] | Steel |  |  |  | 131.5092 | 4 |  |  | AVERAGED GOVERN
[18 empty] | Concrete |  |  |  | 835.3205 | 4 |  |  | AVERAGED GOVERN
[18 empty] | Brick |  |  |  | 29.4655 | 4 |  |  | AVERAGED GOVERN
[18 empty] | Cement |  |  |  | 305.1357 | 4 |  |  | AVERAGED GOVERN | Assumed: Mortar = cement
[18 empty] | Aluminium |  |  |  | 7.8612 | 4 |  |  | AVERAGED GOVERN
[18 empty] | Glass |  |  |  | 4.8695 | 4 |  |  | AVERAGED GOVERN

## Ecoinvent
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment | Comment
1 | Ecoinvent |  | Multi-story building | [14 empty] | Copper |  |  |  | 8.48
1 | [17 empty] | Steel |  |  |  | 24.17
1 | [17 empty] | Aluminium |  |  |  | 8.48
1 | [17 empty] | Glass |  |  |  | 3.08
1 | [17 empty] | Wood |  |  |  | 24.68
1 | [17 empty] | Concrete |  |  |  | 393.064
1 | [17 empty] | Cement |  |  |  | 61.7
1 | Ecoinvent |  | Hall-type building (mix of wood & steel) | [14 empty] | Steel |  |  |  | 26.06
1 | [17 empty] | Aluminium |  |  |  | 1.2
1 | [17 empty] | Glass |  |  |  | 1.8
1 | [17 empty] | Wood |  |  |  | 18.24
1 | [17 empty] | Concrete |  |  |  | 784.5573
1 | [17 empty] | Cement |  |  |  | 14.7

## Schebek
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment | Comment
1 | Schebek | https://doi.org/10.1016/j.resconrec.2016.06.001 | Non-residential | [14 empty] | Steel | 29.29 |  |  | 87.87 |  |  |  | 100 = office | 1 | assumed 3 meters height
1 | [17 empty] | Copper | 0.27 |  |  | 0.81 |  |  |  | 100 = office | 1 | assumed 3 meters height
1 | [17 empty] | Aluminium | - | [6 empty] | 100 = office | 1 | assumed 3 meters height
[18 empty] | Concrete | 149.14 |  |  | 447.42 |  |  |  | 100 = office | 1 | assumed 3 meters height
[18 empty] | Brick | 166.7 |  |  | 500.1 |  |  |  | 100 = office | 1 | assumed 3 meters height
[18 empty] | Glass | 1.16 |  |  | 3.48 |  |  |  | 100 = office | 1 | assumed 3 meters height
[18 empty] | Wood | 1.08 |  |  | 3.24 |  |  |  | 100 = office | 1 | assumed 3 meters height
[18 empty] | Steel | 23.4 |  |  | 70.2 |  |  |  | 100 = office | 4 | assumed 3 meters height
[18 empty] | Copper | - | [6 empty] | 100 = office | 4 | assumed 3 meters height
[18 empty] | Aluminium | - | [6 empty] | 100 = office | 4 | assumed 3 meters height
[18 empty] | Concrete | 178.1 |  |  | 534.3 |  |  |  | 100 = office | 4 | assumed 3 meters height
[18 empty] | Brick | 144.59 |  |  | 433.77 |  |  |  | 100 = office | 4 | assumed 3 meters height
[18 empty] | Glass | - | [6 empty] | 100 = office | 4 | assumed 3 meters height
[18 empty] | Wood | 2.83 |  |  | 8.49 |  |  |  | 100 = office | 4 | assumed 3 meters height
[18 empty] | Steel | 26.94 |  |  | 80.82 |  |  |  | 100 = office | 6 | assumed 3 meters height
[18 empty] | Copper | 0.16 |  |  | 0.48 |  |  |  | 100 = office | 6 | assumed 3 meters height
[18 empty] | Aluminium | 0.12 |  |  | 0.36 |  |  |  | 100 = office | 6 | assumed 3 meters height
[18 empty] | Concrete | 174.5 |  |  | 523.5 |  |  |  | 100 = office | 6 | assumed 3 meters height
[18 empty] | Brick | 7.28 |  |  | 21.84 |  |  |  | 100 = office | 6 | assumed 3 meters height
[18 empty] | Glass | 5.1 |  |  | 15.3 |  |  |  | 100 = office | 6 | assumed 3 meters height
[18 empty] | Wood | 1.09 |  |  | 3.27 |  |  |  | 100 = office | 6 | assumed 3 meters height
[18 empty] | Steel | 2.99 |  |  | 8.97 |  |  |  | 400 = warehouse | 7 | assumed 3 meters height
[18 empty] | Copper | 0.01 |  |  | 0.03 |  |  |  | 400 = warehouse | 7 | assumed 3 meters height
[18 empty] | Aluminium | 0.02 |  |  | 0.06 |  |  |  | 400 = warehouse | 7 | assumed 3 meters height
[18 empty] | Concrete | 55.14 |  |  | 165.42 |  |  |  | 400 = warehouse | 7 | assumed 3 meters height
[18 empty] | Brick | 0.52 |  |  | 1.56 |  |  |  | 400 = warehouse | 7 | assumed 3 meters height
[18 empty] | Glass | 0.03 |  |  | 0.09 |  |  |  | 400 = warehouse | 7 | assumed 3 meters height
[18 empty] | Wood | - | [6 empty] | 400 = warehouse | 7 | assumed 3 meters height
[18 empty] | Steel | 41.61 |  |  | 124.83 |  |  |  | 100 = office | 8 | assumed 3 meters height
[18 empty] | Copper | 0.04 |  |  | 0.12 |  |  |  | 100 = office | 8 | assumed 3 meters height
[18 empty] | Aluminium | 0.14 |  |  | 0.42 |  |  |  | 100 = office | 8 | assumed 3 meters height
[18 empty] | Concrete | 840.6 |  |  | 2521.8 |  |  |  | 100 = office | 8 | assumed 3 meters height
[18 empty] | Brick | 52.64 |  |  | 157.92 |  |  |  | 100 = office | 8 | assumed 3 meters height
[18 empty] | Glass | 1.41 |  |  | 4.23 |  |  |  | 100 = office | 8 | assumed 3 meters height
[18 empty] | Wood | - | [6 empty] | 100 = office | 8 | assumed 3 meters height
[18 empty] | Steel | 3.75 |  |  | 11.25 |  |  |  | 400 = warehouse | 9 | assumed 3 meters height
[18 empty] | Copper | 0 |  |  | 0 |  |  |  | 400 = warehouse | 9 | assumed 3 meters height
[18 empty] | Aluminium | 0.02 |  |  | 0.06 |  |  |  | 400 = warehouse | 9 | assumed 3 meters height
[18 empty] | Concrete | 57.7 |  |  | 173.1 |  |  |  | 400 = warehouse | 9 | assumed 3 meters height
[18 empty] | Brick | 0 |  |  | 0 |  |  |  | 400 = warehouse | 9 | assumed 3 meters height
[18 empty] | Glass | 0.06 |  |  | 0.18 |  |  |  | 400 = warehouse | 9 | assumed 3 meters height
[18 empty] | Wood | - | [6 empty] | 400 = warehouse | 9 | assumed 3 meters height
[18 empty] | Steel | 23.72 |  |  | 71.16 |  |  |  | 100 = office | 12 | assumed 3 meters height
[18 empty] | Copper | 0.4 |  |  | 1.2 |  |  |  | 100 = office | 12 | assumed 3 meters height
[18 empty] | Aluminium | 0.37 |  |  | 1.11 |  |  |  | 100 = office | 12 | assumed 3 meters height
[18 empty] | Concrete | 419 |  |  | 1257 |  |  |  | 100 = office | 12 | assumed 3 meters height
[18 empty] | Brick | 39.4 |  |  | 118.2 |  |  |  | 100 = office | 12 | assumed 3 meters height
[18 empty] | Glass | 10.9 |  |  | 32.7 |  |  |  | 100 = office | 12 | assumed 3 meters height
[18 empty] | Wood | 0.63 |  |  | 1.89 |  |  |  | 100 = office | 12 | assumed 3 meters height
[18 empty] | Steel | 191.12 |  |  | 573.36 |  |  |  | 400 = warehouse | 13 | assumed 3 meters height
[18 empty] | Copper | 0.09 |  |  | 0.27 |  |  |  | 400 = warehouse | 13 | assumed 3 meters height
[18 empty] | Aluminium | 1.78 |  |  | 5.34 |  |  |  | 400 = warehouse | 13 | assumed 3 meters height
[18 empty] | Concrete | 195.17 |  |  | 585.51 |  |  |  | 400 = warehouse | 13 | assumed 3 meters height
[18 empty] | Brick | 3.43 |  |  | 10.29 |  |  |  | 400 = warehouse | 13 | assumed 3 meters height
[18 empty] | Glass | 1.06 |  |  | 3.18 |  |  |  | 400 = warehouse | 13 | assumed 3 meters height
[18 empty] | Wood | 0.68 |  |  | 2.04 |  |  |  | 400 = warehouse | 13 | assumed 3 meters height
[18 empty] | Steel | 21.26 |  |  | 63.78 |  |  |  | 400 = warehouse | 14 | assumed 3 meters height
[18 empty] | Copper | 0 |  |  | 0 |  |  |  | 400 = warehouse | 14 | assumed 3 meters height
[18 empty] | Aluminium | - | [6 empty] | 400 = warehouse | 14 | assumed 3 meters height
[18 empty] | Concrete | 284.28 |  |  | 852.84 |  |  |  | 400 = warehouse | 14 | assumed 3 meters height
[18 empty] | Brick | 0 |  |  | 0 |  |  |  | 400 = warehouse | 14 | assumed 3 meters height
[18 empty] | Glass | - | [6 empty] | 400 = warehouse | 14 | assumed 3 meters height
[18 empty] | Wood | - | [6 empty] | 400 = warehouse | 14 | assumed 3 meters height
[18 empty] | Steel | 16 |  |  | 48 |  |  |  | 400 = warehouse | 15 | assumed 3 meters height
[18 empty] | Copper | 0 |  |  | 0 |  |  |  | 400 = warehouse | 15 | assumed 3 meters height
[18 empty] | Aluminium | - | [6 empty] | 400 = warehouse | 15 | assumed 3 meters height
[18 empty] | Concrete | 162 |  |  | 486 |  |  |  | 400 = warehouse | 15 | assumed 3 meters height
[18 empty] | Brick | 0 |  |  | 0 |  |  |  | 400 = warehouse | 15 | assumed 3 meters height
[18 empty] | Glass | 0 |  |  | 0 |  |  |  | 400 = warehouse | 15 | assumed 3 meters height
[18 empty] | Wood | - | [6 empty] | 400 = warehouse | 15 | assumed 3 meters height
[18 empty] | Steel | 10.05 |  |  | 30.15 |  |  |  | 400 = warehouse | 16 | assumed 3 meters height
[18 empty] | Copper | 0.05 |  |  | 0.15 |  |  |  | 400 = warehouse | 16 | assumed 3 meters height
[18 empty] | Aluminium | 0 |  |  | 0 |  |  |  | 400 = warehouse | 16 | assumed 3 meters height
[18 empty] | Concrete | 121.5 |  |  | 364.5 |  |  |  | 400 = warehouse | 16 | assumed 3 meters height
[18 empty] | Brick | 37.91 |  |  | 113.73 |  |  |  | 400 = warehouse | 16 | assumed 3 meters height
[18 empty] | Glass | 6.15 |  |  | 18.45 |  |  |  | 400 = warehouse | 16 | assumed 3 meters height
[18 empty] | Wood | 0.34 |  |  | 1.02 |  |  |  | 400 = warehouse | 16 | assumed 3 meters height
[18 empty] | Steel | 3.45 |  |  | 10.35 |  |  |  | 400 = warehouse | 17 | assumed 3 meters height
[18 empty] | Copper | 0.01 |  |  | 0.03 |  |  |  | 400 = warehouse | 17 | assumed 3 meters height
[18 empty] | Aluminium | 0.01 |  |  | 0.03 |  |  |  | 400 = warehouse | 17 | assumed 3 meters height
[18 empty] | Concrete | 47.88 |  |  | 143.64 |  |  |  | 400 = warehouse | 17 | assumed 3 meters height
[18 empty] | Brick | 6.81 |  |  | 20.43 |  |  |  | 400 = warehouse | 17 | assumed 3 meters height
[18 empty] | Glass | 0.11 |  |  | 0.33 |  |  |  | 400 = warehouse | 17 | assumed 3 meters height
[18 empty] | Wood | 0.38 |  |  | 1.14 |  |  |  | 400 = warehouse | 17 | assumed 3 meters height
[18 empty] | Steel | 3 |  |  | 9 |  |  |  | 400 = warehouse | 18 | assumed 3 meters height
[18 empty] | Copper | 2 |  |  | 6 |  |  |  | 400 = warehouse | 18 | assumed 3 meters height
[18 empty] | Aluminium | - | [6 empty] | 400 = warehouse | 18 | assumed 3 meters height
[18 empty] | Concrete | 72 |  |  | 216 |  |  |  | 400 = warehouse | 18 | assumed 3 meters height
[18 empty] | Brick | 53 |  |  | 159 |  |  |  | 400 = warehouse | 18 | assumed 3 meters height
[18 empty] | Glass | 0 |  |  | 0 |  |  |  | 400 = warehouse | 18 | assumed 3 meters height
[18 empty] | Wood | 7 |  |  | 21 |  |  |  | 400 = warehouse | 18 | assumed 3 meters height
[18 empty] | Steel | 2 |  |  | 6 |  |  |  | 400 = warehouse | 19 | assumed 3 meters height
[18 empty] | Copper | 0 |  |  | 0 |  |  |  | 400 = warehouse | 19 | assumed 3 meters height
[18 empty] | Aluminium | - | [6 empty] | 400 = warehouse | 19 | assumed 3 meters height
[18 empty] | Concrete | 50 |  |  | 150 |  |  |  | 400 = warehouse | 19 | assumed 3 meters height
[18 empty] | Brick | 27 |  |  | 81 |  |  |  | 400 = warehouse | 19 | assumed 3 meters height
[18 empty] | Glass | 0 |  |  | 0 |  |  |  | 400 = warehouse | 19 | assumed 3 meters height
[18 empty] | Wood | 0 |  |  | 0 |  |  |  | 400 = warehouse | 19 | assumed 3 meters height
[18 empty] | Steel | 28.992 |  |  | 86.976 |  |  |  | Office
[18 empty] | Copper | 0.2175 |  |  | 0.6525 |  |  |  | Office
[18 empty] | Aluminium | 0.21 |  |  | 0.63 |  |  |  | Office
[18 empty] | Concrete | 352.268 |  |  | 1056.804 |  |  |  | Office
[18 empty] | Brick | 82.122 |  |  | 246.366 |  |  |  | Office
[18 empty] | Glass | 4.6425 |  |  | 13.9275 |  |  |  | Office
[18 empty] | Wood | 1.4075 |  |  | 4.2225 |  |  |  | Office
[18 empty] | Steel | 28.18 |  |  | 84.54 |  |  |  | Warehouse
[18 empty] | Copper | 0.24 |  |  | 0.72 |  |  |  | Warehouse
[18 empty] | Aluminium | 0.366 |  |  | 1.098 |  |  |  | Warehouse
[18 empty] | Concrete | 116.1856 |  |  | 348.5567 |  |  |  | Warehouse
[18 empty] | Brick | 14.2967 |  |  | 42.89 |  |  |  | Warehouse
[18 empty] | Glass | 0.92625 |  |  | 2.7788 |  |  |  | Warehouse
[18 empty] | Wood | 1.68 |  |  | 5.04 |  |  |  | Warehouse

## Rossello-Batle
ID | Source |  | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment
| Rossello-Batle | https://doi.org/10.1016/j.enbuild.2009.10.024 | Hotels | [5 empty] | Hotel 1 | [8 empty] | Aluminium |  |  |  | 2.0336 |  |  |  |  | https://www.sciencedirect.com/science/article/pii/S0378778809002734
[9 empty] | Hotel 1 | [8 empty] | Concrete |  |  |  | 1013.4676 |  |  |  | pre-fabricated + instant (including 6:1 aggregate to cement ratio)
[9 empty] | Hotel 1 | [8 empty] | Glass |  |  |  | 3.1749
[9 empty] | Hotel 1 | [8 empty] | Copper |  |  |  | 0.6684 |  |  |  | Other metals' assumed to be 100% copper
[9 empty] | Hotel 1 | [8 empty] | Mortar |  |  |  | 139.028
[9 empty] | Hotel 1 | [8 empty] | Steel |  |  |  | 51.1329
[9 empty] | Hotel 1 | [8 empty] | Wood |  |  |  | 12.1984
[9 empty] | Hotel 2 | [8 empty] | Aluminium |  |  |  | 1.5252
[9 empty] | Hotel 2 | [8 empty] | Concrete |  |  |  | 1003.4319 |  |  |  | pre-fabricated + instant (including 6:1 aggregate to cement ratio = 7* the cement weight)
[9 empty] | Hotel 2 | [8 empty] | Glass |  |  |  | 1.5252
[9 empty] | Hotel 2 | [8 empty] | Copper |  |  |  | 0.67788 |  |  |  | Other metals' assumed to be 100% copper
[9 empty] | Hotel 2 | [8 empty] | Mortar |  |  |  | 138.7959
[9 empty] | Hotel 2 | [8 empty] | Steel |  |  |  | 53.3831
[9 empty] | Hotel 2 | [8 empty] | Wood |  |  |  | 13.0492
[9 empty] | Hotel 3 | [8 empty] | Aluminium |  |  |  | 5.5188
[9 empty] | Hotel 3 | [8 empty] | Concrete |  |  |  | 1003.3124 |  |  |  | pre-fabricated + instant (including 6:1 aggregate to cement ratio = 7* the cement weight)
[9 empty] | Hotel 3 | [8 empty] | Glass |  |  |  | 10.6696
[9 empty] | Hotel 3 | [8 empty] | Copper |  |  |  | 8.4621 |  |  |  | Other metals' assumed to be 100% copper
[9 empty] | Hotel 3 | [8 empty] | Mortar |  |  |  | 115.5263
[9 empty] | Hotel 3 | [8 empty] | Steel |  |  |  | 49.1171
[9 empty] | Hotel 3 | [8 empty] | Wood |  |  |  | 10.8536
[18 empty] | Aluminium |  |  |  | 3.0259 |  |  |  | AVERAGE
[18 empty] | Concrete |  |  |  | 1006.7373 |  |  |  | AVERAGE
[18 empty] | Glass |  |  |  | 5.1233 |  |  |  | AVERAGE
[18 empty] | Copper |  |  |  | 3.2695 |  |  |  | AVERAGE
[18 empty] | Mortar |  |  |  | 131.1167 |  |  |  | AVERAGE
[18 empty] | Steel |  |  |  | 51.211 |  |  |  | AVERAGE
[18 empty] | Wood |  |  |  | 12.0337 |  |  |  | AVERAGE

## Gruhler
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Plaster & Mortar |  |  |  | 186 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Concrete |  |  |  | 898 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Brick |  |  |  | 39 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Plating |  |  |  | 14 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Wood |  |  |  | 2 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Insulation |  |  |  | 19 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Roof-cover |  |  |  | 0 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Cover & Gutters |  |  |  | 1 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Other (incl. sand) |  |  |  | 554 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | car-shop | Germany |  |  |  |  | Autohäuser | [8 empty] | Metal |  |  |  | 156 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Plaster & Mortar |  |  |  | 239 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Concrete |  |  |  | 1200 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Brick |  |  |  | 313 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Plating |  |  |  | 19 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Wood |  |  |  | 29 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Insulation |  |  |  | 40 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Roof-cover |  |  |  | 12 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Cover & Gutters |  |  |  | 3 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Other (incl. sand) |  |  |  | 673 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | emergency services | Germany |  |  |  |  | Fuerwehr/Rettungswachen | [8 empty] | Metal |  |  |  | 133 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Plaster & Mortar |  |  |  | 169 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Concrete |  |  |  | 1120 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Brick |  |  |  | 95 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Plating |  |  |  | 6 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Wood |  |  |  | 20 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Insulation |  |  |  | 25 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Roof-cover |  |  |  | 12 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Cover & Gutters |  |  |  | 1 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Other (incl. sand) |  |  |  | 658 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Wholesale | Germany |  |  |  |  | Verbrauchermärkte | [8 empty] | Metal |  |  |  | 104 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Plaster & Mortar |  |  |  | 189 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Concrete |  |  |  | 873 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Brick |  |  |  | 343 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Plating |  |  |  | 19 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Wood |  |  |  | 22 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Insulation |  |  |  | 31 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Roof-cover |  |  |  | 5 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Cover & Gutters |  |  |  | 2 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Other (incl. sand) |  |  |  | 136 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Nursing home | Germany |  |  |  |  | Pflegeheime | [8 empty] | Metal |  |  |  | 91 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Plaster & Mortar |  |  |  | 275 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Concrete |  |  |  | 1073 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Brick |  |  |  | 431 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Plating |  |  |  | 21 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Wood |  |  |  | 25 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Insulation |  |  |  | 34 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Roof-cover |  |  |  | 6 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Cover & Gutters |  |  |  | 1 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Other (incl. sand) |  |  |  | 280 |  |  |  | MI per nett floor area (NRF in source)
| Gruhler |  | Hotel/Guesthouse | Germany |  |  |  |  | Hotels/Gästehäuser | [8 empty] | Metal |  |  |  | 122 |  |  |  | MI per nett floor area (NRF in source)

## Marcellus‐Zamora
ID | Source | DOI | Case study | City/Country/Region | Original area data | Area | Classification | Residential building type | Reference (from the source) | Structure | Construction period | Number of floors | Number of dwellings | Number of residents | Gross floor area (m2) | Net floor area per building (m2) | m2/cap | Construction material | Material Density (kg/m3) | Material content per building | Unit | Mat. content per floor area kg/m2 | Building code | kg/cap | Lifetime | Comment
| Marcellus-Zamora | https://doi.org/10.1111/jiec.12327 | Civic/Institutional | Philadelphia, USA |  | Urban | [11 empty] | Brick |  |  |  | 73 |  |  |  | Table S2
[18 empty] | Concrete |  |  |  | 702 |  |  |  | Table S2, two stories assumed (=1x deck multiplier)
[18 empty] | Glass |  |  |  | 31 |  |  |  | Table S2
[18 empty] | Steel |  |  |  | 40 |  |  |  | Table S9

## Conversion_factors
cubic yard per m3 | 1.308
m2 per ft2 | 0.092903
kg of bricks per ft2 wall | 13.3696 | http://www.beldenbrick.com/brick-dimensions-guide.asp
kg per lbs | 0.45359
kg per m2 glass | 10 | http://www.leadbitterglass.co.uk/glassroom/calculate-weight-of-glass/
kg per m2 corrugated steel roof plate | 10 | https://onlinelibrary.wiley.com/doi/pdf/10.1002/9780470697818.app1
kg per cement block | 12.247 | https://www.brownsconcrete.com/images/Resources/Building/Product_Info/Block_Weight_Cube_Size.pdf
kg per m2 steel cladding | 3.662 | Assumed 26 gauge | https://www.tedpella.com/company_html/gauge.htm
cubic feet to m3 | 0.028317
m3 per Mbfm | 1.634 | https://books.google.nl/books?id=FVqXqhvUhe0C&lpg=PA277&ots=_tRb9S3eeL&dq=Mbfm%20to%20m2&hl=nl&pg=PA277#v=onepage&q=Mbfm%20to%20m2&f=false
kg per ft2 of concrete brick | 18.0704 | 3.4 kg per brick according to the "Speed-E-Bricks" in https://www.nationalmasonry.com.au/wp-content/uploads/National_Masonry_Design_Guide_Book_2_SQLD.pdf |  |  | surface | 0.01748 | m2 | 57.2082 | #/m2
cement to concrete weight ratio | 7 | assumed 3 parts sand & 3 parts aggregate added |  | https://www.everything-about-concrete.com/concrete-mixing-ratios.html

## Ecoinvent_background
Ecoinvent 2.2, industrial buildings material demand (based on fictious 110 m2 hall)
Assumed lifetime of materials 20-30 yrs
Wood construction building hall (1m2, 50yr lt) | kg/m2 | m2/m2 | m3/m2 | assumed lifetime | kg (total lifetime) | kg (built once) |  |  | Assumed weights
steel parts (zinc coated) | 10 |  |  | 50 | 10 | 10 | Steel
steel sheet (roof) | 3.2 |  |  | 30 | 3.2 | 1.92 | Steel
Aluminum window frame | 3 |  |  | 20 | 3 | 1.2 | Aluminium
Window, double glazing | 4.5 |  |  | 20 | 4.5 | 1.8 | Glass
Wooden pillars |  |  | 0.006 | 50 | 2.4 | 2.4 | Wood |  | 400 | kg/m3 | as in database
Concrete (foundation) |  |  | 0.3 | 50 | 696 | 696 | Concrete |  | 2320 | kg/m3 | as in database |  |  | 0.3 | Average hall-type building
Wood wall (outside) |  |  | 0.045 | 20 | 18 | 7.2 | Wood |  | 400 | kg/m3 |  |  | kg/m2
Wood wall (inside) |  |  | 0.03 | 30 | 12 | 7.2 | Wood |  | 400 | kg/m3 |  | Steel | 11.92 | 3.576 | 26.06
Wood framework |  |  | 0.02 | 50 | 8 | 8 | Wood |  | 400 | kg/m3 |  | Aluminium | 1.2 | 0.36 | 1.2
tertiary beams |  |  | 0.04 | 50 | 16 | 16 | Wood |  | 400 | kg/m3 |  | Glass | 1.8 | 0.54 | 1.8
seconary beams |  |  | 0.03 | 50 | 12 | 12 | Wood |  | 400 | kg/m3 |  | Wood | 60.8 | 18.24 | 18.24
primary beams |  |  | 0.02 | 50 | 8 | 8 | Wood |  | 400 | kg/m3 |  | Concrete | 696 | 208.8 | 784.5573
Other materials
Glass wool (insulation) | 6.6 |  |  | 20
Mineral wool (insulation) | 6.6 |  |  | 20
Polystyrol (insulation) | 5.4 |  |  | 20
Steel construction building hall (1m2, 50yr lt) | kg/m2 | m2/m2 | m3/m2 | assumed lifetime | kg (total lifetime) | kg (built once) |  |  | Assumed weights
steel sheet (roof) | 3.2 |  |  | 30 | 3.2 | 1.92 | Steel
Fibre cement board | 33 |  |  | 20 | 33 | 13.2 | Concrete
Aluminum window frame | 3 |  |  | 20 | 3 | 1.2 | Aluminium | [6 empty] | 0.7
Window, double glazing | 4.5 |  |  | 20 | 4.5 | 1.8 | Glass | [5 empty] | kg/m2
Reinforced concrete pillars & beams (concrete part) |  |  | 0.00272 | 50 | 6.3104 | 6.3104 | Concrete |  | 2320 | kg/m3 | as in database | Steel | 32.12 | 22.484
Reinforced concrete pillars & beams (steel part) | 0.2 |  |  | 50 | 0.2 | 0.2 | Steel |  |  |  |  | Aluminium | 1.2 | 0.84
Steel pillars & beams | 30 |  |  | 50 | 30 | 30 | Steel |  |  |  |  | Glass | 1.8 | 1.26
Conrete (foundation) |  |  | 0.3 | 50 | 696 | 696 | Concrete |  | 2320 |  |  | Wood | 0 | 0
Cement mortar | 21 |  |  | 50 | 21 | 21 | Cement |  |  |  |  | Concrete | 822.5104 | 575.7573
Masonry wall (bricks) | 107 |  |  | 50 | 107 | 107 | Concrete | * |  |  |  | Cement | 21
Other materials
Glass wool (insulation) | 6.6 |  |  | 20 | 6.6
Mineral wool (insulation) | 6.6 |  |  | 20 | 6.6
Polystyrol (insulation) | 5.4 |  |  | 20 | 5.4
Building, multi-storey (1m2, 80 yr lt) | kg/m2 | m2/m2 | m3/m2 | assumed lifetime | kg (total lifetime) | kg (built once, material lts match with the building lts) |  |  | Assumed weights
Reinforced concrete (steel part) | 7.17 |  |  |  |  | 7.17 | Steel
Reinforced concrete (concrete part) |  |  | 0.0927 |  |  | 215.064 | Concrete |  | 2320
Masonry wall (bricks) | 178 |  |  |  |  | 178 | Concrete | *
Cement mortar | 61.7 |  |  |  |  | 61.7 | Cement | [5 empty] | kg/m2
Glass | 3.08 |  |  |  |  | 3.08 | Glass |  |  |  |  | Copper | 8.48
Wood |  |  | 0.0617 |  |  | 24.68 | Wood |  | 400 |  |  | Steel | 24.17
Steel | 17 |  |  |  |  | 17 | Steel |  |  |  |  | Aluminium | 8.48
Aluminium | 8.48 |  |  |  |  | 8.48 | Aluminium |  |  |  |  | Glass | 3.08
Copper | 8.48 |  |  |  |  | 8.48 | Copper |  |  |  |  | Wood | 24.68
Mineral wool | 1.3 |  |  |  |  | 1.3 | [5 empty] | Concrete | 393.064
PVC | 0.925 |  |  |  |  | 0.925 | [5 empty] | Cement | 61.7